**SHREE SAIRAJ ELECTRICALS**

Mail: [rrsatras@gmail.com](mailto:rrsatras@gmail.com) Contact: 8149826054/9850426054

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| NO | Details | Quantity | Rate | Total |
| 1 | Electric light point with material and labor. Wire Pollycab casing and capping ligand switch | 6 | 1100.00 | 6600.00 |
| 2 | Power point with material and labor’s. Wire Pollycab 2.5 sqmm casing and capping ligrand switch with earthing | 2 | 2200.00 | 4400.00 |
| 3 | 7 wat round surface fitting (Philips Make) | 1 | 560.00 | 560.00 |
| 4 | 15 wat round surface fitting (Philips Make) | 4 | 860.00 | 3440.00 |
| 5 | New earting with GI plate And copper wire with material and labor | 1 | 1250.00 | 1250.00 |
| 6 | 10 sqmm 4 core pollycab cable flexibal | 50 mtr | 485.00 | 24250.00 |
| 7 | 10 sqmm 4 core pollycab cable armad | 50 mtr | 585.00 | 29250.00 |
| 8 | Labor rate for Armad/Flexibal cable laying | 100 mtr | 75.00 | 7500.00 |
| 9 | 40 amp 4 pole ligrand MCB | 1 | 1634.00 | 1634.00 |
| 10 | 32 amp 4 pole ligrand MCB | 1 | 1364.00 | 1364.00 |
| 11 | 32 amp SP ligrand MCB | 4 | 118.00 | 472.00 |
| 12 | 20 amp SP ligrand MCB | 4 | 118.00 | 472.00 |
| 13 | 2.5 sqmm 4 core cable | 50 mtr | 88.00 | 4400.00 |
| 14 | 2.5 pillycab wire | 1 | 1500.00 | 1500.00 |
| 15 | 12 module distribution box ligrabd double door | 1 | 1880.00 | 1880.00 |
| 16 | 12 module distribution box fixing | 1 | 1400.00 | 1400.00 |
| 17 | 6 sqmm Erthing wire | 1 | 3880.00 | 3880.00 |
| 18 | Cable tray 50x50 mm with Cover | 5 | 980.00 | 4900.00 |
| 19 | Cable tray fixing | 10 | 180.00 | 900.00 |

**Total Costing: 94352.00**

**Note:** 1. GST 18% will be extra.

2. Required 50% payment in advance and remaining after completion of work.

3. If quantity of the cable increases then rate also increases.